- UF Modules

- UF Skids

## UF Modules

There’s nothing like the proven performance of Dow's popular family of pressurized ultrafiltration (UF) modules. You also have the flexibility to select the 26 and 28 series Dow Ultrafiltration modules or the newest Dow innovation, the IntegraFlux modules with XP fiber that provides up to 35% higher permeability than previous generation modules improving operating efficiencies and productivity.

| Product | Module Membrane Area (m2) | Fiber | Data Sheet |
| --- | --- | --- | --- |
| DOW IntegraFlux™ ModulesNEW! |  |  |  |
| SFD-2880XP SFP-2880XP | 77 | High Permeability, XP Fiber |  |
| SFD-2860XP SFP-2860XP | 51 | High Permeability, XP Fiber |  |
| DOW™ Ultrafiltration Modules |  |  |  |
| SFD-2880 SFP-2880 | 77 | Standard |  |
| SFD-2860 SFP-2860 | 51 | Standard |  |
| SFD-2660 SFP-2660 | 33 | Standard |  |

http://www.dow.com/webapps/include/GetDoc.aspx?filepath=liquidseps/pdfs/noreg/795-50222.pdf

http://www.dow.com/webapps/include/GetDoc.aspx?filepath=liquidseps/pdfs/noreg/795-50225.pdf

http://www.dow.com/webapps/include/GetDoc.aspx?filepath=liquidseps/pdfs/noreg/795-00011.pdf

## UF Skids

DOW IntegraPac Skids are pre-engineered, standardized and ready-to-assemble. The IntegraPac skids are comprised of DOW™ IntegraPac modules, auxiliary parts and piping, and can significantly streamline design, assembly and installation as seen in the video here. Customers can also purchase IntegraPac modules individually that enable them to utilize the efficient module architecture to design custom skids beyond the Dow standard offering. The latest Dow innovation includes IntegraPac modules with XP fiber that provide up to 35% higher permeability than previous generation modules improving operating efficiencies and productivity.

| Product | # of Modules per Skid | Module Membrane Area (m2) | Fiber | Module Data Sheet | Skid Data Sheet |
| --- | --- | --- | --- | --- | --- |
| DOW IntegraPac™ Modules and Skids |  |  |  |  |  |
| IPD-77XP IP-77XP | 6-22 | 77 | High Permeability, XP Fiber |  |  |
| IPD-51XP IP-51XP | 6-22 | 51 | High Permeability, XP Fiber |  |  |
| IPD-77 IP-77 | 6-22 | 77 | Standard |  |  |
| IPD-51 IP-51 | 6-22 | 51 | Standard |  |  |